TYPICAL SPECIFICATION

E Series – ARMflo Circulators

Furnish and install, as shown on the plans, Armstrong ARMflo E Series circulating pump model _________ with bronze (or cast iron) body. The pump shall be maintainable using an EnviroSeal silicon carbide mechanical seal, have a close coupled dry motor, with a capacity of _______ USgpm (L/s) against a total head of _______ ft (m). The pump shall be 120 V (or 240 V) / 1 Phase / 60 Hz, UL listed and CSA approved, and pumps with 1/12 hp or 1/6 hp motors shall have a minimum wire-to-water efficiency of 36 percent.