Series S&H and S&H ECM In-Line Circulators

File No: 10.205

Date: November 6, 2017

Supersedes: 10.205

Date: August 11, 2016

Typical Specifications

- General Description

Furnish and install as shown on the plans, Armstrong S&H or S&H ECM Series Circulating Pump, designed for quiet operation and guaranteed by the manufacturer for the intended application. The pump shall;

- Have a capacity of 		 USgpm (L/s)

- Handle (state liquid and temperature) against a total head of 		 ft (m)

- Be equipped with a 		 hp (kW), 		 Volt, phase, 		 Hz and 1800 rpm drip-proof mounted motor.

Pump shall be 				 construction, three-piece design featuring the Armstrong shaft and bearing module which shall fit all models;

- S&H

  - S-25 through S-57

  - H-32 through H-54

- S&H ECM

  - S55 ECM, S57 ECM and S69 ECM

  - H53 ECM, H54 ECM and H63 ECM through H67 ECM

Please select one of the above only

Pump to be equipped with a water-tight, long-life silicon carbide mechanical seal and be suitable for 		 psi (kPa) working pressure.