Compass

File No: 10.222

Date: November 20, 2015

Supersedes: New

Date: New

Typical Specifications

- General Description

- Design Envelope Wet Rotor Circulator

- Furnish and install, as shown on the plans, Armstrong Compass circulating pump model with high efficiency ECM motor and 8 modes of control, in stainless steel/cast iron body and Noryl impeller. The pump shall have a capacity of _____ USgpm (L/s) against a total head of _______ ft (m). Armstrong Compass Series are 115V/230V/single phase/60 Hz and are cETLus listed.

- Stainless steel body Compass is NSF 372 certified which complies with Section 116875 of the California Health and Safety Code and Vermont Act 193. (Lead content of all wetted surface is 0.25% or less.)