Compass R

File No: 10.224

Date: March 19, 2020

Supersedes: New

Date: New

Typical Specifications

- General Description

- Design Envelope Dry Rotor Circulator

- Furnish and install, as shown on the plans, Armstrong Compass R circulating pump model with high efficiency ECM motor and 5 modes of control, in stainless steel/ductile iron body and Noryl impeller. The pump shall have a capacity of _____ USgpm (L/s) against a total head of _______ ft (m). Armstrong Compass R Series are 115V/208-240V/single phase/50/60 Hz and are cETLus listed.

- Stainless steel body Compass is NSF 372 & NSF-61 certified which complies with Section 116875 of the California Health and Safety Code and Vermont Act 193. (Lead content of all wetted surface is 0.25% or less.)