TYPICAL SPECIFICATION

Model AAP - Air Purgers

Furnish and install as shown on plans, an Armstrong in-line type air purger, Model AAP-_____, equipped with integral flow baffle. The air purger shall be constructed for 150 psi (1034 kPa) working pressure at 450°F (232°C). The air purger shall also be designed in accordance with the latest revisions of the ASME Code for Boilers and Pressure Vessels, section VIII, Division 1.