TYPICAL SPECIFICATION

Series 4270 - Motor Mounted Centrifugal Pumps

Furnish and install, as shown on the Plans and Specifications, an Armstrong Series 4270 End Suction Motor Mounted Centrifugal Pumping Unit suitable for 150 psig working pressure with radially-split__________casing, ULTEM Impeller, 416 Stainless Steel Shaft and single inside-type 21 Mechanical Seal. The driving motor shall be horizontal, solid shaft, squirrel cage induction motor with NEMA C Flange and ________enclosure, suitable for operation on a _____volt, _________cycle phase power supply. The complete unit shall be suitable for ______as shown on the Pump Schedule, or for _______the following: service _______, capacity ______ USgpm (l/second), total head _____feet (metres), liquid _______, temperature _______°F (°C), viscosity ______SSU, pump size ______, speed _______rpm, motor rating __________HP.