TYPICAL SPECIFICATION

Series 4270 - Stock Models

Furnish and install, as shown on the Plans and Specifications, an Armstrong Series 42ST End Suction Motor Mounted Centrifugal Pumping Units - Model__________, suitable for 150 PSIG working pressure with radially-split cast iron casing, ULTEM Impeller, 416 Stainless Steel Shaft and single inside-type 21 Mechanical Seal.  The driving motor shall be horizontal, solid shaft, squirrel cage induction motor with NEMA C Flange and drip-proof enclosure, suitable for operating on a__________ volt,__________cycle phase power supply.