TYPICAL SPECIFICATION

AG-RSeries

Furnish and install, as shown on the plans, Armstrong AG-R Series circulating pump model ____ with cast iron body. The pump shall have a capacity of ____ USgpm (L/s) against a total head of ____ ft (m). Armstrong AG-R series are 230V/1/50Hz and are CE and CB approved.