TYPICAL SPECIFICATION

#### DAS Series – Dirt & Air Separator - Models DASH-2(Q) to DASH-12(Q)

Furnish and install on the plans and described herein, an Armstrong DASH(Q) High Velocity Dirt & Air Separator as manufactured by Armstrong. Each separator must be designed with a blow-down valve, skim valve, and automatic air vent. The separator must also utilize in its design a stainless steel coalescing medium to aid in the separation of air and dirt in the system entrained water. The separator must be constructed and rated for 150 psi (1034 kPa) working pressure.

Each separator shall be Armstrong model DASH-___ (Q) or approved equal.

NPT connections are available for sizes 2 to 4. Nomenclature: DASH-___-N(Q).